BioRePeelCl3

BIPHASIC TECHNOLOGY

Instructions for use

BioRePeelCl3 is a biphasic acid medical device containing trichloroacetic acid, tartaric acid, citric acid, salicylic acid, lactobionic acid, gamma-aminobutyric acid, arginine, proline, hydroxyproline, ascorbyl glucoside, riboflavin, isopropyl myristate, and squalane.

BioRePeelCl3 is a medical device with an exfoliating and coadjuvant action in the treatment of acne and in the prevention of recurrence. It creates favorable conditions for the recovery of the physiological skin layer in the event of an acne lesion, prevents the formation of acne scars, and counteracts recent superficial scarring results.

The device produces an exfoliating effect on the skin, thanks to the acidic pH and the chemical properties of its components, promoting the mechanical elimination of damaged and degenerated epidermal cells, which will be replaced by normal epidermal cells, helping to restore the skin's optimal physiological conditions.

Directions for use:

- . Acne

- . Reduction of recent superficial scarring results

- . Prevention of scar formation

- . Reduction of acne relapses

Side Effects:

- Do not use in case of ascertained sensitivity to the

components.

- Do not use on people allergic to salicylates.

- Slight redness of the skin may occur, which will

disappear 24-48 hours after treatment.

- Do not use the product if there are pathologies and/

or infections affecting the skin, such as dermatitis

or herpes.

- Use with caution on patients with keloids.

- Do not use if pregnant or nursing.

Usage protocol and intended use:

FND - Use: face, neck, décolletage.

Perform the treatment every 7-10 days for at least  4-6 sessions, depending on the doctor's opinion  and the treatment objectives. Place for 3-5 minutes,  depending on the patient's perception.

| FND | Usage volume (ml) |
| --- | --- |
| Face | 1,5-2 ml |
| Neck | 1-1,5 ml |
| Décolletage | 2-2,5 ml |

Body - Use: body.

Perform the treatment every 10-12 days for at least 4-6 sessions, depending on the doctor's opinion and the treatment objectives. Place for 3-10 minutes, depending on the patient's perception.

| Body | Usage volume (ml) |
| --- | --- |
| Back | 6 ml |
| Shoulders | 3 ml |
| Buttocks | 4 ml |
| Legs | 5 ml |
| Knees | 2 ml |
| Elbows | 1 ml |
| Hands | 2 ml |
| Feet | 3 ml |

Application Method:

- Shake the bottle for a few seconds until the color

changes and a sudden green emulsion forms before each use.

- With a syringe, take the quantity necessary for the treatment, drawing from the center of the mixture in order to guarantee uniformity of dosage, and proceed with the application immediately.

- Apply the product in the desired area and rub with a nitrile glove until completely absorbed.

- After the exposure time, dab the area carefully with sterile gauze and water, and clean any residues.

- The product is single patient.

Warnings:

- Professional medical device for external use.

- Avoid contact with eyes, mucous membranes, and nails.

- In case of accidental contact, rinse with plenty of water or eye wash.

- Dispose of as hazardous waste according to mandatory requirements, hazard class: HP4, HP5, HP6, HP14.

- In case of non-compliant use according to the product's protocol and intended use, the professional medical user assumes responsibility for incorrect use, knowing the risks and benefits related to use and not indicated use.

Storage:

Store in a cool, dry place at a temperature between 5 °C and 25 °C, away from light and heat sources.